

**MR 404/2018**

**SUPPLY OF 33kV PROTECTION PANELS FOR VUDA SUBSTATION PROTECTION UPGRADE**

**Addendum No. 1**

ADDENDUM No. 1

|  |  |
| --- | --- |
| **No** | **Description** |
| 1 | Add the following to the list of spares under **7.11 Tools and Equipment:**   * *2x Miniature circuit breaker, 6A, Part No. Schneider A9N-61526* * *1x Control selector switch, Part No. Kraus & Naimer CA10-A722* * *10xsets of Rockwell 700-HA32Z01 + 700-HT3 Timer modules* * *10x Blue Indication lamps part numbers ZB5AV063, ZBVBG6, ZB5A2009* |